## ZEN Summary
Zero Energy Now Compliance Standards |  | (V.10/1/2021)
The Zero Energy Now (ZEN) program offers a simple, comprehensive way to cut your energy use, switch to renewables, and reduce your carbon footprint.
Compliance can be achieved through either a performance "modeled approach" or a prescriptive "checklist approach". Incentives are offered for each.
| Compliance Path | Base Incentives | Supplemental Incentives | Solar PV | Incentive Notes
| 1. Modeled Approach - A ZEN Program Coordinator uses historic energy bills and a heat load model of the home to analyze compliance with the "10-50-50 standards". That is, 10% envelope improvement, 50% fossil fuel and grid electric savings, and 50% of energy used is generated renewably. | $50/MMBtu saved, up to $5,000 | Electric Vehicle Level 2 Charger Installed: up to $1,000 Income Eligible Customers (<$90,000 income for family of 4): $3,000 | Solar systems may be owned or leased, either on the property or as part of a community array. Renewable Energy Credits must be retained in Vermont. | Incentives are only available if all requirements are met. If a requirement has been met before enrollment, an incentive is not paid for that measure, but but the measure can count towards meeting the "10-50-50" standards.
| 2. Checklist Approach - A prescriptive approach to achieving ZEN prinicipals: envelope efficiency, renewable/efficient space and water heating, and renewable generation. | Up to $3,500 |  |  | Incentives are only available if all requirements are met. If a requirement has been met before enrollment, an incentive is not paid for that measure. Incentives are only paid for projects that include as least three of the following components: envelope efficiency, renewable/efficient space and water heating, renewable electric generation.

## Data Input Sheet
Data Input Sheet | [13 empty] | SSE w SEA | Hydronic Boiler
CLEAR & Checklist
[14 empty] | Label | Resistance Baseboard
[10 empty] | Contractor Business Name |  |  |  | AHRI | Central Furnace
| Note: CHECKLIST projects must fill out dark grey cells, then fill out next sheet. | [8 empty] | Contractor Name |  |  |  | Default | Space Heater
| Note: MODELED projects must fill out as many cells as possible, this sheet only. | [8 empty] | Address |  |  |  | Estimated | Mini-Split ASHP
| Client Names | [8 empty] | Email |  |  |  |  | Multi-Head ASHP
| Mailing Address | [8 empty] | Phone |  |  |  | Electric | Compact Ducted Mini-Split
| City, State, Zip | [8 empty] | Coordinator |  |  |  | Kerosene | Central Ducted ASHP
| Email | [12 empty] | #2 Fuel Oil | Air-to-Water Heat Pump
| Phone primary | [12 empty] | LP Gas | Closd Loop Grnd Sce Ht Pump
| Phone alternate | [5 empty] | Photo | [6 empty] | Natural Gas | Open Loop Grnd Sce Ht Pump
| Phone message | [12 empty] | Anthr Coal
| TODAY'S DATE | [12 empty] | Wd Pellets | On Demand
| Project Address | [12 empty] | Cord Wd | Tank Direct
| Project City, State, Zip | [13 empty] | Tank Indirect
| Audit Date | [12 empty] | Roof Mount | Heat Pump
| Project Start Date | [12 empty] | Fixd Grnd Mt | Tankless Coil
| Test-out Date | [12 empty] | Adj Grnd Mt | Solar Hot Water
Tracker
| Income Eligibility | Yes | No | [10 empty] | Other
EVT (see chart)
ZEN (90K Household Limit)
Current Energy Details
Electric Utility
Cost per Unit
|  | Fuel Type | Dealer
Fuel 1 & Dealer
Fuel 2 & Dealer
Fuel 3 & Dealer
Fuel 4 & Dealer
Proposed Fuels (Biomass only) |  | Fuel Type | Dealer | Cost
Fuel & Dealer 1
Fuel & Dealer 2
Structure & Envelope
| Conditioned Floor Area |  | See definition of CFA below.
| Volume inside envelope |  | Must fill in if choosing 1e from Checklist.
Number of Floors
Number of Bedrooms
Number of Occupants
| Existing CFM50 |  | Must fill in if choosing 1e from Checklist. | [5 empty] | * Portion of Load below applies only to equipment using the same fuel, but with different efficiencies.
| Projected Improved CFM50 |  | Must fill in if choosing 1e from Checklist.
Cost of Weatherization
Existing Heating Systems |  | System Type | Estimated Age | Fuel Type | Fuel Usage | Unit | Efficiency | Efficiency Method | Portion of Load* | Make | Model | Output Btus
Existing Heat 1
Existing Heat 2
Existing Heat 3
Existing Heat 4
| Solar Heat Adjustment (if any) |  | Estimated Offset
Proposed Heating Systems |  | System Type | Cost Installed | Fuel Type | Fuel Usage | Unit | Efficiency | Efficiency Method | Portion of Load* | Make | Model | Output Capacity: Btu/Hr | Occupncy Adjstmnt
| New Heat Pump 1 |  |  |  |  | kWh
| New Heat Pump 2 |  |  |  |  | kWh
| New Heat Pump 3 |  |  |  |  | kWh
New Biomass 1
New Biomass 2
New Biomass 3
Other System Improvement
Continued System Backup
Continued System 2
Continued System 3
| New Solar Heat Adjustment |  | Estimated Offset
Domestic Hot Water
Existing Systems |  | System Type | Estimated Age | Fuel Type | Fuel Usage | Unit | Effcy | Efficiency Method | Portion of Load* | Make | Model | Output Btus
DHW 1
DHW 2
| Solar DHW Adjustment (if any) |  | Estimated Offset | [5 empty] | * Portion of Load applies only to equipment using the same fuel, but with different efficiencies.
Proposed or Retained Systems |  | System Type | Cost Installed | Fuel Type | Fuel Usage | Unit | Effcy | Efficiency Method | Portion of Load* | Make | Model | Output Btus | Occupncy Adjstmnt
DHW 1
DHW 2
| Solar DHW Adjustment (if any) |  | Estimated Offset | [5 empty] | * Portion of Load applies only to equipment using the same fuel, but with different efficiencies.
Appliances Fossil Fuel |  | Fuel | Estimated Load | Retained Load | Estimated Age
Cooktop
Stove
Dryer
Appliances Electric |  | Estimated Load | Retained Load | Estimated Age | Default Load
| Refrigerator |  |  |  | 700
| Stove |  |  |  | 600
| Cooktop |  |  |  | 250
| Oven |  |  |  | 450
| Dishwasher |  |  |  | 200
| Microwave |  |  |  | 101
| Washer |  |  |  | 108
| Dryer |  |  |  | 900
| Television with Receiver |  |  |  | 465
| Freezer |  |  |  | 700
| Air Conditioning |  |  |  | 1080
| Ventilation/HRV |  |  |  | 80
| Boiler Circulators |  |  |  | 291
| Furnace Blower Fan |  |  |  | 922
| Dehumidifier |  |  |  | 1152
| Heat Pump AC |  |  |  | 500
| Pellet Stove Fan & Auger |  |  |  | 600
Other:
Other:
Other:
Proposed Appliances (Electric Only) |  | New Appliance | Estimated Load | Cost Installed | Default Load
| Heat Pump AC |  |  |  | 500
Appliance 1
Appliance 2
Appliance 3
Appliance 4
|  | Existing Load | Retained Load |  | Default Load
| Plug Load |  |  |  | 2200
Electric Vehicles |  | Date Brought on Site | Estimated Load | Pct Chrged on Site | Annual Mileage
Vehicle 1
Vehicle 2
Vehicle 3
Renewable Energy |  | System Type | System Size Kw | Estimated Age | Genrating Capacity | Avg Prod Factor
Existing
Renewable 1
Renewable 2
|  |  | System Size Kw | Installed Cost | Genrating Capacity | Avg Prod Factor
| Proposed | System Type
Renewable 1
Renewable 2
Renewable 3
Q-Loss Data (Contractor may fill out actual Q-Loss Sheet instead.)
| BUILDING | Ext. Length | Hgt/Wdth | Area | Existing | Proposd | Correctn
| COMPONENT | (ft) | (ft) | (sq. ft.) | R-value | R-value | Factor
Net Wall North 1
Net Wall North 2
Net Wall North 3
Net Wall East 1
Net Wall East 2
Net Wall East 3
Net Wall South 1
Net Wall South 2
Net Wall South 3
Net Wall West 1
Net Wall West 2
Net Wall West 3
Ceiling 1
Ceiling 2
Ceiling 3
|  | Ext. Length | Hgt/Wdth | Area | Existing | Proposd | Correctn
|  | (ft) | (ft) | (sq. ft.) | R-value | R-value | Factor
Ceiling 4
Ceiling 5
Slant 1
Slant 2
Slant 3
Slant 4
Slant 5
Floor 1
Floor 2
Floor 3
Floor 4
Floor 5
Windows North
Windows East
Windows South
Windows West
Doors 1
Doors 2
| FOUNDATION | Depth | Perimeter | Area | Existing R Value | Proposd R Value | Correctn Factor
above grade
below grade
exposed slab
|  | Existing slab R-value: |  |  | New slab R-value:
| INFILTRATION (with mech. vent.) | Existing CFM50 | Target CFM50 | LBL 'N' Factor | Existing AC/H | Target AC/H | Correctn Factor
Shielding (W=Well, N=Normal, E=Exposed):

## ZEN Checklist
Zero Energy Now Prescriptive Checklist
| Client Names |  |  | House Size (sq. ft.): |  | CFA (See definition on separate tab)
| Mailing Address |  |  | Min. Heating System Capacity: |  | Btu/hour minimum nominal capacity
| City, State, Zip |  |  | Installed Heating System Output Capacity |  | Btu/hour planned size
| Email |  |  | Min. Solar PV Size: |  | Watts minimum solar array size
| Phone primary |  |  | Installed Solar PV Size: |  | Watts planned size
Phone alternate
| Phone message |  | Information in dark gray cells below must be provided by contractor, homeowner, or coordinator: | [8 empty] | Fuel Type | Units | MMBtus / Unit | Units | Units / MMBtu | CO2 in Lbs / MMBtu
| TODAY'S DATE |  |  |  | Quantity | Unit | Cost
| Project Address |  |  |  | 6099 | kWh |  |  |  | 0 | 0 | Electric | kWh | 0.003412 | kWh | 293.0832 | 12
| Project City, State, Zip |  | Fuel 1 Annual Fuel Use |  | 1264 |  |  |  |  | 0 | 0 | Kerosene | gals | 0.1366 | gals | 7.3206 | 159.4
| Contractor Business Name |  | Fuel 2 Annual Fuel Use |  | 30 |  |  |  |  | 0 | 0 | #2 Fuel Oil | gals | 0.1382 | gals | 7.2359 | 161.3
| Contractor Name |  | Fuel 3 Annual Fuel Use |  | 1.5 |  |  |  |  | 0 | 0 | LP Gas | gals | 0.0916 | gals | 10.917 | 139
| Address |  | Fuel 4 Annual Fuel Use | [6 empty] | 0 | 0 | Natural Gas | ccu ft | 0.1 | ccu ft | 10 | 117
| Email |  |  | Annual Energy Cost |  |  | 0 |  |  |  |  | Anthr Coal | tons | 23.5 | tons | 0.042553 | 228.6
| Phone |  |  | Annual Energy Use in MMBtus |  |  | 0 |  |  |  |  | Wd Pellets | tons | 16.4 | tons | 0.060976 | n/a
| Coordinator |  |  | Annual Carbon Load in lbs |  |  | 0 |  |  |  |  | Cord Wd | cords | 22 | cords | 0.045455 | n/a
Prescriptive "Checklist" Standard
| Component | Requirement | Incentives | Notes/Standards |  | "X" All Installed* | Date Installed | Incentive Available:
| Envelope efficiency | Select one of the following: |  | Standard met? | Yes/No |  |  |  | Maximum $3,500 Incentive
1a | Maximum Energy Intensity | 30 kBtu/sq.ft. Calculated using the average fuel consumption over the previous two (2) years for space heating and the intentionally conditioned square footage of the building. | 1000 | Must provide documentation. |  | x |  | 1000
1b | Home Performance with ENERGY STAR Program Participation & Air Leakage Reduction | The building has completed a Home Performance with ENERGY STAR (or Building Performance) Program project and also achieved at least a 20% air leakage reduction level, and all cost-effective attic & basement measures have been addressed. |  | Must provide documentation. |  |  |  | 0
1c | RBES or CBES Certificate | The building has achieved a 2011 Residential Building Energy Standards (2011 RBES) (or Commercial Building Energy Standard, 2011 CBES) or later certificate. |  | Must provide documentation. |  |  |  | 0
1d | HERS Index | The building has scored a Home Energy Rating System (HERS) Index of 76 or less by a certified Energy Rater. A score of 76 represents the HERS compliance score required in the 2011 RBES. |  | Must provide documentation. |  | X |  | 0
1e | ACH50 | The building has a maximum measured Air Changes per Hour of 4 or less at 50 Pascals (ACH50), following BPI standards. |  | Must provide cfm50 and calculated volume. | Yes |  |  | 0
1f | DOE Home Energy Score | The building scores at least 6 or higher on the U.S. Department of Energy’s Home Energy Score, on the scale of 1-10 with 5 being an “average” home and 10 the best. |  | Must provide documentation. |  |  |  | 0
| Renewable Heating | Select one of the following:
| Cold-Climate Ductless Heat Pump | >10 Btu/hr/sq. ft. of Conditioned Floor Area (CFA) (Size based on "nominal capacity" as listed in outdoor unit model number) or sized to meet at least 50% of the projected space heating load | 1000 | https://ashp.neep.org/#!/product_list/veic_ductless |  | X |  | 1000
|  |  |  | Including "compact-ducted". 1:1 units preferred. |  |  |  | 0
| Cold-Climate Central Ducted Heat Pump |  |  | https://ashp.neep.org/#!/product_list/veic_ducted |  |  |  | 0
| Cold-Climate Air-to-Water Central Heat Pump |  |  | https://www.efficiencyvermont.com/Media/Default/docs/rebates/qpls/efficiency-vermont-awhp-qpl.pdf |  | x |  | 0
| Ground-Source Heat Pump (GSHP) | [6 empty] | 0
| Advanced Wood Heating- Central Boiler |  |  | https://www.efficiencyvermont.com/products-technologies/renewable-energy/advanced-wood-heating |  |  |  | 0
| Wood or pellet stove | [6 empty] | 0
| Renewable Electric Generation | Select one of the following:
| Solar PV System | >2.5 W/sq. ft. of CFA or sized to meet at least 50% of the projected electrical load of the house (exclusive of electric vehicle charging) | 1000 |  |  | X |  | 1000
| Renewable Hot Water Heating | Optional:
| Heat Pump Water Heater | CEE Tier III | 500 | Must meet Effcy Vt's highest HP dhw incentive |  | X |  | 500
| Solar Thermal Water System | Solar thermal with electric back-up | [5 empty] | 0
| GSHP Desuperheater Water Heater | Integrated with GSHP | [5 empty] | 0
| Integrated with Central Wood Boiler | Integrated with Central Wood Boiler | [5 empty] | 0
| Electric Vehicle Charging Capacity | Optional:
| EV Charger | Level II outlet or charger installed | 1000 | Grid control ready; up to 10 incentives available |  |  |  | 0
| Income Eligibility | Optional
| Income Eligible Customer | Household income for a family of 4 of approximately $90,000 or less | 3000 | Up to 10 incentives available |  |  |  | 0
| Total Incentives: | [6 empty] | 3500
Note: Incentives are only available if all requirements are met. If a requirement has been met before enrollment, an incentive is not paid for that measure. Incentives are only paid for projects that include as least three of the following components: envelope efficiency, renewable heating, renewable electric generation, and renewable water heating.
* To receive incentive, installation must occur no more than 1 year prior to date of enrollment.
Notes

## CFA Definition
From: http://www.resnet.us/blog/wp-content/uploads/2016/01/ANSI_RESNET_ICC-301-2014-Addendum-D-2017.pdf
Conditioned Floor Area (CFA) –
The floor area of the Conditioned Space Volume within a building, minus the floor area of attics, floor cavities, crawlspaces, and basements below air sealed and insulated floors. The following specific spaces are addressed to ensure consistent application of this definition:
 The floor area of a wall cavity that is Conditioned Space Volume shall be included.
 The floor area of a basement shall only be included if the party conducting evaluations has either:
Obtained an ACCA Manual J, S, and either B or D report and verified that both the heating and cooling equipment and distribution system are designed to offset the entire design load of the volume, or,
Verified through visual inspection that both the heating and cooling equipment and distribution system serve the volume and, in the judgement of the party conducting evaluations, are capable of maintaining the heating and cooling temperatures specified by the Thermostat section in Table 4.2.2(1) of ANSI/RESNET/ICC 301-2014.
 The floor area of a garage shall be excluded, even when it is conditioned.
 The floor area of a thermally isolated sunroom shall be excluded.
 The floor area of an attic shall be excluded, even when it is Conditioned Space Volume.
 The floor area of a floor cavity shall be excluded, even when it is Conditioned Space Volume.
The floor area of a crawlspace shall be excluded, even when it is Conditioned Space Volume.
(Informative Note) A list of software rating tools meeting the requirements of RESNET Publication No. 13-002 and approved by RESNET is online at http://www.resnet.us/professional/programs/energy_rating_software.